Lab Sustainability Assessment: Questions for Lab Manager and/or Lab Sustainability Representative Volunteer

People involved: Lab sustainability representative and Lab Manager. The questions are divided into the following categories, but feel free to skip any irrelevant questions.

# 1. Innovation

(This question will be asked at the beginning and then end of the interview. If you can’t think of anything right now, keep it in the back of your mind and we will get back to this question at the end of the interview.)

- Please cite 3-5 things you have done in attempt to increase research efficiency or conserve energy and resources. These can be technical innovations or expertise your lab has developed that might help other researchers on campus.

- How does this innovation add to the efficiency of your lab? (Please list quantifiable results such as energy savings, water reduction, etc.)

# 2. Occupancy, General Lighting, & HVAC

- What is your policy for turning off lights?

- What are your lab’s occupancy hours?

- Do you have Variable Air Volume (VAV) fume hoods? Yes______ No______

# 3. Equipment, Maintenance & Sharing

- What can NOT be unplugged/when? What equipment requires special approval to turn off?

- Who is in charge of equipment maintenance? __________  *Do they maintain it themselves or contract a third party?

- Do you take any preventative steps to ensure that equipment stays in good condition? If so, describe (e.g. changing oil on vacuum pumps, having spare seals & gaskets for HPLC machines):

- If possible, please name 3 labs and/or PIs with similar laboratory equipment to yours:

1.

2.

3.

- Would you be interested in sharing lab equipment with other labs doing similar research?

- Do you have any major pieces of equipment that use water in this room? If so, for what? For cooling? Is the water reused? (e.g. cooling lasers, ice water cooling, reflux condensers)

- How often do you defrost your freezers? *Do I have permission to look in your freezers to see if they have been defrosted recently? Yes__No__

- Have you heard about Seeding Labs and do you know how to get in touch with them about potential equipment donations? What could make coordinating with Seeding Labs easier?

- Are there any resources the Office for Sustainability could provide you with that would help you reduce your energy consumption?  (i.e. plug timers, reminder prompts for people to shut the sash or turn off lights, lists of specific types of energy efficient appliances, etc…)

# 4. Computing

- Do you maintain your computers or is IT responsible for this?

- Are your computers and printers using Energy Star settings? Are your monitors set to hibernate or use screen savers? (Screen savers defeat energy saving mode).

# 5. Materials

a. Lab recycling

b. General recycling & waste reduction

c. Chemicals

# A. Lab recycling

- Do you recycle plastic pipette tip boxes in your lab?

- If the lab plastics program at HMS eventually expands to include more materials, who in your lab would be in charge of ensuring that lab materials are recycled safely? Would you be willing to assume this role or would your PI be willing to assign this as a group task?

- Who should the Office for Sustainability contact in your lab to ensure that you have the most up to date information regarding lab recycling?

# B. General Recycling & Waste Reduction

- How often do you print double-sided?

- How often do you reuse paper that has printing/writing on only one-side?

- Do you generate a lot of single sided paper that you would be willing to share?

- What are current barriers to paper conservation?

- Do you know how to recycle your batteries? CFLs? Printer/toner cartridges?

# C. Chemicals

- Do you have any mercury thermometers or reagents you would like to trade in for alternative products?

- Who purchases the chemicals for your lab? Do all the lab members know which other lab members are likely to have certain chemicals? Is there potential to increase sharing within the group?

- Would you be interested in free chemicals from a potential EH&S “adopt-a-chemical” program? Under what conditions? (i.e. being able to talk to previous owner, unopened, etc…)

- Please list the main chemicals that your lab uses below:

# 6. Water

- Do you use water for cooling, vacuum aspirators, or any continuous flow process?

- How do you wash glassware or plastic items?

- Do you think there are opportunities for conserving water in your lab?

# 7. Training & Awareness

- Are the lab staff and/or Lab Manager trained on…

  - When equipment needs to be on and when it can be turned off?

Lab Staff yes____ no___ Lab Manager yes____ no___

  - Energy Star settings

Lab Staff yes____ no___ Lab Manager yes____ no___

  - Appropriate fume hood sash height

Lab Staff yes____ no___ Lab Manager yes____ no___

- Would you like assistance in training your lab staff in any of the areas mentioned?

# 8. Innovation

(This question will be asked at the beginning and then end of the interview. If you can’t think of anything right now, keep it in the back of your mind and we will get back to this question at the end of the interview.)

- Please cite 3-5 things you have done in attempt to increase research efficiency or conserve energy and resources. These can be technical innovations or expertise your lab has developed that might help other researchers on campus.

- How does this innovation add to the efficiency of your lab? (Please list quantifiable results such as energy savings, water reduction, etc.)

# Independent Observations & Data Collection

People involved: Lab Sustainability Representative. Please conduct general observations of lab practices as well as a detailed equipment inventory for all major pieces of equipment.

- General observations about the lab environment

- An equipment inventory (“equipment usage chart”)

| Lighting |  |
| --- | --- |
| Poorly positioned lights? (*Are occupants satisfied w/ light?) |  |
| Occupancy sensors installed? Do they work well? |  |
| Occupants know how to turn off lights? |  |
| Fume hoods |  |
| Time of observation |  |
| # in use |  |
| # open but unattended (*include sash height for each) |  |
| Other Equipment |  |
| Thermal cyclers default setting (*energy saving?) |  |
| Phantom energy use (*describe significant examples, such as chargers that are plugged in when not being used, equipment that is left on 24/7 when not in use, etc.) |  |
| Other potential changes? |  |
| Heating |  |
| Noticeably too hot or too cold? |  |
| What are your research needs for temperature? Humidity? |  |
| # of space heaters? |  |
| Are heat ducts uncovered/unblocked in order to allow for optimal heating in the lab space? |  |
| Computers |  |
| # of desktop computers |  |
| # of CRT monitors |  |
| # of computers without power management enabled for CPU |  |
| # of computers without power management for screen |  |
| Recycling |  |
| Is there convenient paper recycling in the lab? |  |
| Is there convenient bottle and can recycling in the hallway/kitchenette outside of the lab? |  |
| Nearest battery recycling station? |  |
| Is there convenient and clearly labeled plastic pipette tip box recycling available in the lab? |  |
| Clear signage on all bins? |  |

# Equipment Usage Chart

| General Equipment Info | Usage patterns | Energy Usage Data |
| --- | --- | --- |
| Equipment type | Brand Name | Model & Serial # | Nameplate Info | Other comments | Frequency of use | Duration of typical run | Shared? | Power state 1 | Power state 2 | Standby Power |